## Slide 1: Sanitation System Drawing Tool Version 1 (July 2015)
Notes: Version 1 by Dominik Boller and Lukas Ulrich, July 2015

## Slide 2: Sanitation System Templates 1-9
The following slides show the nine sanitation system templates from the Compendium. A system template defines a suite of compatible and proven technology combinations from which a sanitation system can be designed. You can easily design your system by editing and modifying one of the templates. For example, remove the technology options that do not apply to your specific context.
Edit the system templates by adding or removing elements, changing the position of elements, etc.

System 1: Single Pit System
System 2: Waterless Pit System without Sludge Production
System 3: Pour Flush Pit System without Sludge Production
System 4: Waterless System with Urine Diversion
System 5: Biogas System
System 6: Blackwater Treatment System with Infiltration
System 7: Blackwater Treatment System with Effluent Transport
System 8: Blackwater Transport to (Semi-) Centralized Treatment System
System 9: Sewerage System with Urine Diversion

## Slide 3
T.13
T.14
T.15
T.16
T.17
Sedimen-tation / Thickening
Unplanted Drying Beds
Planted Drying Beds
Co-Composting
Biogas Reactor
C.7
Transfer Station
Single Pit
Single VIP
S.2
S.3
Greywater Treatment
Faeces
Effluent
Sludge
System 1: Single Pit System
U.1
Dry Toilet
Blackwater
Anal Cleansing Water
Effluent
Flushwater
Dry Cleansing Materials
Greywater
Excreta
Stormwater
Urine
Sludge
U.4
Pour Flush Toilet
T.1
T.2
T.3
T.4
T.5
T.6
T.7
T.8
T.9
T.10
T.11
T.12
Settler
Imhoff Tank
ABR
Anaerobic Filter
WSP
Aerated Pond
FWS CW
HSF CW
VF CW
Trickling Filter
UASB
Activated Sludge
D.1
Fill and Cover / Arborloo
D.6
D.9
D.10
D.11
Irrigation
Fish Pond
Plant Pond
Disposal / Recharge
D.5
D.12
Application
Surface Disposal and Storage
D.6
D.7
D.11
Irrigation
Soak Pit
Disposal / Recharge
D.11
Disposal / Recharge
C.2
C.3
Human-Powered Emptying and Transport
Motorized Emptying and Transport
Stormwater Drains
POST
Filtration / Disinfection
PRE
Pre-Treatment

## Slide 4
Double VIP
Fossa Alterna
S.4
S.5
Greywater Treatment
Faeces
System 2: Waterless Pit System without Sludge Production
U.1
Dry Toilet
Anal Cleansing Water
Effluent
Greywater
Excreta
Stormwater
Urine
Stormwater Drains
D.4
Application
D.6
D.7
D.11
Irrigation
Soak Pit
Disposal / Recharge
D.11
Disposal / Recharge
Dry Cleansing Materials
Organics
Composting Chamber
S.8
C.2
Human-Powered Emptying and Transport
Compost
Pit Humus
D.12
Surface Disposal and Storage

## Slide 5
Faeces
Urine
System 3: Pour Flush Pit System without Sludge Production
Blackwater
Effluent
Flushwater
Dry Cleansing Materials
Greywater
Stormwater
U.4
Pour Flush Toilet
D.12
Surface Disposal and Storage
D.4
D.12
Application
Surface Disposal and Storage
D.6
D.7
D.11
Irrigation
Soak Pit
Disposal / Recharge
D.11
Disposal / Recharge
Twin Pits for Pour Flush
S.6
Anal Cleansing Water
C.2
Human-Powered Emptying and Transport
Pit Humus
Stormwater Drains
Greywater Treatment

## Slide 6
C.1
C.3
Jerrycan / Tank
Motorized Emptying and Transport
Faeces
Urine
System 4: Waterless System with Urine Diversion
Effluent
Dry Cleansing Materials
Greywater
Stormwater
D.12
Surface Disposal and Storage
D.3
D.12
Application
Surface Disposal and Storage
D.6
D.7
D.11
Irrigation
Soak Pit
Disposal / Recharge
D.11
Disposal / Recharge
C.2
Human-Powered Emptying and Transport
Anal Cleansing Water
Urine Diverting Dry Toilet
Urinal
U.2
U.3
Faeces
Urine
Anal Cleansing Water
Storage Tank
S.1
Dehydration Vaults
S.7
Dried Faeces
Stored Urine
D.7
Soak Pit
D.2
Application
Stormwater Drains
Greywater Treatment

## Slide 7
Greywater Treatment
Faeces
System 5: Biogas System
Anal Cleansing Water
Effluent
Greywater
Stormwater
Urine
Stormwater Drains
D.6
D.7
D.11
Irrigation
Soak Pit
Disposal / Recharge
D.11
Disposal / Recharge
Dry Cleansing Materials
Organics
Flushwater
Biogas
D.13
Biogas Combustion
Brownwater
Blackwater
Sludge
C.1
C.3
Jerrycan / Tank
Motorized Emptying and Transport
Storage Tank
S.1
Stored Urine
D.2
Application
Biogas Reactor
S.12
D.7
Soak Pit
U.4
Pour Flush Toilet
Urine
Urinal
Urine Diverting Flush Toilet
U.3
U.6
D.5
D.12
Application
Surface Disposal and Storage

## Slide 8
POST
Filtration / Disinfection
T.13
T.14
T.15
T.16
T.17
Sedimen-tation / Thickening
Unplanted Drying Beds
Planted Drying Beds
Co-Composting
Biogas Reactor
Faeces
Effluent
Sludge
System 6: Blackwater Treatment System with Infiltration
Blackwater
Anal Cleansing Water
Flushwater
Dry Cleansing Materials
Urine
Sludge
T.1
T.2
T.3
T.4
T.5
T.6
T.7
T.8
T.9
T.10
T.11
T.12
Settler
Imhoff Tank
ABR
Anaerobic Filter
WSP
Aerated Pond
FWS CW
HSF CW
VF CW
Trickling Filter
UASB
Activated Sludge
D.6
D.9
D.10
D.11
Irrigation
Fish Pond
Plant Pond
Disposal / Recharge
D.5
D.12
Application
Surface Disposal and Storage
Septic Tank
ABR
Anaerobic Filter
S.9
S.10
S.11
D.12
Surface Disposal and Storage
Effluent
Stormwater
Stormwater Drains
D.7
D.8
Soak Pit
Leach Field
Pour Flush Toilet
Cistern Flush Toilet
U.4
U.5
Greywater
C.7
Transfer Station
C.2
C.3
Human-Powered Emptying and Transport
Motorized Emptying and Transport
PRE
Pre-Treatment
D.11
Disposal / Recharge

## Slide 9
C.7
Transfer Station
Faeces
Effluent
Sludge
System 7: Blackwater Treatment System with Effluent Transport
Blackwater
Anal Cleansing Water
Flushwater
Dry Cleansing Materials
Urine
Sludge
T.1
T.2
T.3
T.4
T.5
T.6
T.7
T.8
T.9
T.10
T.11
T.12
Settler
Imhoff Tank
ABR
Anaerobic Filter
WSP
Aerated Pond
FWS CW
HSF CW
VF CW
Trickling Filter
UASB
Activated Sludge
D.6
D.9
D.10
D.11
Irrigation
Fish Pond
Plant Pond
Disposal / Recharge
D.5
D.12
Application
Surface Disposal and Storage
Septic Tank
ABR
Anaerobic Filter
S.9
S.10
S.11
C.2
C.3
Human-Powered Emptying and Transport
Motorized Emptying and Transport
D.12
Surface Disposal and Storage
Effluent
Greywater
Stormwater
D.11
Disposal / Recharge
Pour Flush Toilet
Cistern Flush Toilet
U.4
U.5
C.4
C.5
Simplified Sewer
Solids-Free Sewer
PRE
Pre-Treatment
PRE
Pre-Treatment
T.13
T.14
T.15
T.16
T.17
Sedimen-tation / Thickening
Unplanted Drying Beds
Planted Drying Beds
Co-Composting
Biogas Reactor
Stormwater Drains
POST
Filtration / Disinfection

## Slide 10
Faeces
Effluent
System 8: Blackwater Transport to (Semi-) Centralized Treatment System
Blackwater
Anal Cleansing Water
Flushwater
Dry Cleansing Materials
Urine
Sludge
T.1
T.2
T.3
T.4
T.5
T.6
T.7
T.8
T.9
T.10
T.11
T.12
Settler
Imhoff Tank
ABR
Anaerobic Filter
WSP
Aerated Pond
FWS CW
HSF CW
VF CW
Trickling Filter
UASB
Activated Sludge
D.6
D.9
D.10
D.11
Irrigation
Fish Pond
Plant Pond
Disposal / Recharge
D.5
D.12
Application
Surface Disposal and Storage
D.12
Surface Disposal and Storage
Greywater
Stormwater
D.11
Disposal / Recharge
Pour Flush Toilet
Cistern Flush Toilet
U.4
U.5
C.4
C.6
Simplified Sewer
Gravity Sewer
PRE
Pre-Treatment
Stormwater Drains
POST
Filtration / Disinfection
T.13
T.14
T.15
T.16
T.17
Sedimen-tation / Thickening
Unplanted Drying Beds
Planted Drying Beds
Co-Composting
Biogas Reactor

## Slide 11
Faeces
Effluent
System 9: Sewerage System with Urine Diversion
Anal Cleansing Water
Flushwater
Dry Cleansing Materials
Urine
Sludge
T.1
T.2
T.3
T.4
T.5
T.6
T.7
T.8
T.9
T.10
T.11
T.12
Settler
Imhoff Tank
ABR
Anaerobic Filter
WSP
Aerated Pond
FWS CW
HSF CW
VF CW
Trickling Filter
UASB
Activated Sludge
D.6
D.9
D.10
D.11
Irrigation
Fish Pond
Plant Pond
Disposal / Recharge
Greywater
Stormwater
D.11
Disposal / Recharge
Urine-Diverting Flush Toilet
Urinal
U.6
U.3
C.4
C.6
Simplified Sewer
Gravity Sewer
Brownwater
C.1
C.3
Jerrycan / Tank
Motorized Emptying and Transport
Urine
Storage Tank
S.1
Stored Urine
D.2
Application
PRE
Pre-Treatment
Stormwater Drains
D.5
D.12
Application
Surface Disposal and Storage
POST
Filtration / Disinfection
T.13
T.14
T.15
T.16
T.17
Sedimen-tation / Thickening
Unplanted Drying Beds
Planted Drying Beds
Co-Composting
Biogas Reactor

## Slide 12: How to Use the Sanitation System Drawing Tool
This tool was prepared based on the 2nd edition of the Compendium of Sanitation Systems and Technologies. You can use it to:
Draw your own system by copying / pasting ready-made graphical elements (i.e. products, technologies and arrows, see slides 4-6) to an empty template (slide 3)
Edit and modify systems 1-9 from the Compendium by adding / removing elements, changing the position of elements, etc. (see slides 7-16)
Print your tailor-made system, include it in a report or use the slide in a presentation
Hints
If you use your system in a PowerPoint presentation, you may want to add animations to your elements (e.g. to make them appear in sequence – from User Interface to Use / Disposal).
If you want to edit a technology box (e.g. in systems 1-9), it may be useful to “ungroup” the object first. Right-click the box and select «Group» -> «Ungroup».
Some hints for Windows users:
To duplicate an element, press and hold the Ctrl key while dragging and dropping it with your mouse. Or simply hit Ctrl+D.
You can move an element with your keyboard arrows. For smaller, more precise movements of an element, press and hold the Ctrl key while using the keyboard arrows.





## Slide 13
Empty Template (Enter Title)

## Slide 14: Products
Effluent
Dry Cleansing Materials
Biomass
Biogas
Brownwater
Blackwater
Anal Cleansing Water
Compost
Dried Faeces
Flushwater
Faeces
Greywater
Organics
Excreta
Pre-Treatment Products
Stormwater
Stored Urine
Pit Humus
Urine
Sludge
For the design of a robust sanitation system, it is necessary to define all of the products that are flowing into (inputs) and out of (outputs) each of the sanitation technologies in the system.
Copy / paste the products you need to the input / output columns of your system template.


## Slide 15: Sanitation Technologies
PRE
Pre-Treatment
POST
Filtration / Disinfection
C.3
Motorized Emptying and Transport
C.4
Simplified Sewer
C.6
Conventional Gravity Sewer
U.1
Dry Toilet
U.2
Urine-Diverting Dry Toilet
U.3
Urinal
U.4
Pour Flush Toilet
U.5
Cistern Flush Toilet
U.6
Urine-Diverting Flush Toilet
Storage Tank
S.1
Single Pit
S.2
Single VIP
S.3
Double VIP
S.4
Twin Pits for Pour Flush
S.6
Dehydration Vaults
S.7
SepticTank
S.9
Composting Chamber
S.8
Anaerobic Filter
S.11
ABR
S.10
Biogas Reactor
S.12
Fossa Alterna
S.5
C.1
Jerrycan / Tank
C.2
Human-Powered Emptying and Transport
C.5
Solids-Free Sewer
C.7
Transfer Station
T.2
Imhoff Tank
T.1
Settler
T.3
ABR
T.4
Anaerobic Filter
T.5
WSP
T.6
Aerated Pond
T.8
HSF CW
T.7
FWS CW
T.9
VF CW
T.10
Trickling Filter
T.11
UASB
T.12
Activated Sludge
T.14
Unplanted Drying Beds
T.13
Sedimen-tation / Thickening
T.15
Planted Drying Beds
T.16
Co-Composting
T.17
Biogas Reactor
D.13
Biogas Combustion
D.2
Application
D.3
Application
D.4
Application
D.5
Application
D.6
Irrigation
D.7
Soak Pit
D.8
Leach Field
D.9
Fish Pond
D.10
Plant Pond
D.11
Disposal / Recharge
D.12
Surface Disposal and Storage
Greywater Treatment
Stormwater Drains
D.1
Fill and Cover / Arborloo
Copy / paste the technologies you need to the corresponding functional group columns of your system template.
The technology codes (e.g. U.1) refer to the technology information sheets in the Compendium.



## Slide 16: Arrows
Bold arrows are used to show the most appropriate flow path.
Thin arrows indicate alternative flow paths which are possible but not always common or recommended.
Copy / paste arrows to your system template and create the link between products and / or technologies.
To create a link between the source and destination boxes, pull the end / tip of the respective arrow. When you are close to the box, several red dots appear and you can use the appropriate red dot for connecting.

